User’s Manual

T-Plate

Medicapteurs

« Les Espaces de Balma »

18 avenue Charles de Gaulle  - Bât. 34

31130 BALMA

Tel : 33 (0) 562 571 571

www.medicapteurs.fr

/ 0124

Copyright 2015

Foreword

We appreciate your confidence in the MEDICAPTEURS Company and we would like to thank you for choosing T-Plate Technology.

"T-PLATE Software" has been designed to be user friendly and only requires basic computer skills. The friendliness of the software however, does not replace the necessity of reading this manual to guide you step by step through the procedures to properly use the "T-PLATE Software", and it will also help you save valuable time.

In addition to this manual, you will find the Installation Manual for the platform and the software, on your Medicapteurs CD or USB key.

Enjoy your reading and welcome to the prestigious "T-PLATE” users’ Club.

Contents

Contents	5

Warranty	7

Historical background	9

IMPORTANT NOTICE	10

Software Start Up	11

Software exit	11

Software Navigation	12

Menu bar	13

Menu "Files"	13

Menu "Utilities"	13

Menu "Statistics"	14

Menu "Configuration"	15

Visit Flow Chart	18

"Patient" Tab	19

Tool Bar	19

Creating a new patient file	20

Searching for an existing patient file	20

Modifying an existing patient file	20

"Exam" Tab	21

Tool bar	21

Previous exams	22

Creating a new exam	22

Searching for an existing exam	22

Modifying an exam file	22

"Acquisition" Tab	23

Tool bar	23

Creating a measurement (Acquisition)	25

Static Acquisition	26

Basic Dynamic Acquisition (one gait cycle)	27

Multiple Dynamic Acquisitions (Multiple Steps)	29

Postural Acquisition	31

Detailed Static Analysis	33

Tool Bar	33

Foot Print Analysis	34

Foot Print Analysis	35

"Standard" View	35

"Isopressure" View	36

"Percents" View	36

"3D" View	37

"Measurements” Option	38

Detailed Dynamic Analysis	40

Tool bar	41

Foot Print Analysis	42

Multiple Views	44

"Mosaic" View	45

Step Phases Analysis	46

Graphs – Dynamic	47

Tool Bar	47

Selecting a graph	48

Graphic options	48

References	49

Support phases calculations	49

Left foot and right foot synthesis	50

Comparing 2 measurements	51

Detailed Postural Analysis	52

Tool Bar	53

Foot Print Analysis	54

The different views	57

"Mosaic" view	58

Graphs - Postural Analysis	59

Graph Selection	59

Graphs display options	60

Parameters	60

Measurements comparison and Romberg quotient	61

Acquisition	61

Analysis	61

"Comparison" Tab	62

General information	62

Up to 4 measurements comparison	63

"Video" Tab	64

Tool bar	64

Simultaneous recording Video / Podometry	65

Post-synchronization of the video with the dynamic foot print	65

Printing	66

Scale 1 Printing	67

Exporting Data	68

Patient database back up	69

Patient database back up	69

Reloading a backed up patient database	69

Warranty

For a period ending on the date of the twelfth month anniversary of the date of delivery (such period being the “Warranty Period”), the equipment, used under normal operating conditions and not subject to misuse or abuse, shall be free from defects in material, workmanship and design and shall operate and conform to the performance capabilities, specifications, functions and other descriptions and standards as described in the specifications.

During the Warranty Period and subject to the exclusions below, Manufacturer at its option and expense, shall promptly repair or replace equipment that does not conform to the warranty.  The procedure for effecting warranty replacement or repair will be as specified by Manufacturer.  Purchaser shall ship Equipment for warranty replacement or repair to Manufacturer at Purchaser's expense, and Manufacturer shall ship repaired or replaced equipment to Purchaser at Manufacturer's expense.

For proper shipping of the equipment to MEDICAPTEURS for repair or maintenance, Purchaser shall include complete sender’s information, the equipment serial number and a brief description of the problem.

Purchaser shall use preferably the original shipping package. If it is not available, Purchaser shall contact a professional shipping service company which will assist Purchaser with proper packaging instructions and materiel.

Limitations of warranty and disclaimer

The Software:

The Software is and shall remain the exclusive property of Manufacturer.  This license confers no title or ownership in the Software and is not a sale of any rights in the Software.  No license other than that specifically stated herein is granted to Purchaser, and Purchaser shall have neither right to sublicense the Software nor any right under any patent, trademark, copyright, trade secret or other intellectual property of Manufacturer other than that granted by this Agreement.

Manufacturer grants Purchaser, a personal, non-exclusive, non-transferable, perpetual license to use the Software in the product under the terms and conditions stated herein. If the license is transferred by the Purchaser to a third party without the company’s written consent and approval, the Purchaser and the Third Party shall be held jointly responsible for payment to the Manufacturer of a minimal compensation of 20 times the price of the software, without prejudice as to any other damage and interest. The software travels at the Purchaser’s risk and expenses.

Purchaser shall not make any modifications to the Software or remove any proprietary, regulatory or safety notices of Manufacturer in or on the Software. Purchaser further agrees not to reverse engineer, decompile or otherwise reverse assemble any portion of the software or create derivative works based upon the Software.

This Software Agreement does not grant Purchaser any rights in connection with any trademarks or service marks of Product.

Manufacturer warrants to purchaser that, in case of any software it has identified at its own property, the software will substantially conform to the applicable Manufacturer’s specifications in the date of installation and for a period that is consistent with the warranty offered herein. Manufacturer’s sole obligation under this agreement is limited to responding to purchaser’s contact and to using commercially reasonable efforts to correct reported problems by supplying purchaser with a corrected version of the Software.

Warranty

Copyright:

All title and intellectual property rights in and to the content that may be accessed through use of the Software is the property of the respective content owner and may be protected by applicable copyright or other intellectual property laws and treaties. This agreement grants Purchaser no rights to use such content except as accessed through the Software. If the Software contains documentation that is provided only in electronic form, Purchaser may print copy of such electronic documentation.

Disclaimer:

Manufacturer does not warrant that operation of its Software will be uninterrupted or error free, or that any defects in the Software are correctable or will be corrected; or that functions contained in the Software will operate in the combinations which may be selected for use by purchaser to meet Purchaser’s requirements. Manufacturer’s warranty and seller’s obligations will be void if the Software is modified without the prior written consent of Manufacturer.

Except for the express limited Software warranty for the Software, Manufacturer and seller expressly disclaim and exclude all other warranties, whether express, implied in law or otherwise to the fullest extend permitted by law, and the above limited Software warranty is in lieu of all obligations and liabilities on the part of the Manufacturer for damages arising out of or in connection with the Software, including without limitation any warranty of merchantability, satisfactory quality or fitness for a particular purpose.

Exclusions: Seller and Manufacturer shall have no obligations with respect to any defects, damage, or non-conformances of Equipment that result from:  improper installation, operation or maintenance; unauthorized repair; tampering; any use of the Equipment not in conformance with the relevant Equipment specifications or from accidents, or “acts of God”; or other such occurrences after delivery.  If any Equipment returned by Purchaser for repair or replacement is not defective or nonconforming or contains a defect or nonconformance caused by a factor outside the scope of Manufacturer’s warranty, Manufacturer shall bill Purchaser at Manufacturer’s normal service rate for services performed with respect to such defective returned Equipment or for “no fault found” with respect to returned Equipment which is not defective.

LIMITATION ON WARRANTY:

MANUFACTURER AND SELLER MAKE NO WARRANTIES REGARDING THE EQUIPMENT TO BE PROVIDED HEREUNDER OTHER THAN THE EXPRESS WARRANTIES IN THIS SECTION AND THERE SHALL BE NO IMPLIED WARRANTIES, INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR A PARTICULAR PURPOSE OR NONINFRINGEMENT.  THE SOLE REMEDIES OF PURCHASER FOR ANY BREACH OF WARRANTY ARE THE REMEDIES SET FORTH IN THIS SECTION.  MANUFACTURER AND SELLER SPECIFICALLY DISCLAIMS ANY AND ALL WARRANTIES TO CUSTOMERS OF PURCHASER.

Limitation of Liability:  In no event shall Manufacturer or its Affiliates, Seller or suppliers be liable for indirect, special, incidental, consequential, punitive or other damages (including lost revenue, lost profit, lost data, downtime costs,), arising out of the use, inability to use, or the result of the use of the Equipment whether based on warranty, breach of warranty, contract, tort, or other legal theory, and whether or not advised of the possibility of such damages. In no event shall Manufacturer or its Affiliates, Seller or suppliers be liable to Purchaser for any damages, however based, in excess of the amount paid by the Purchaser to Seller for the Equipment.

Historical background

The first recording of plantar support was performed in1880 through the work of MAREY and DEMENY.

As early as 1947, SCHWARTZ used piezo-electric sensors positioned under the plantar surface of the feet for performing a dynamic gait analysis.

In 1962, CARLSON and TAILLARD further the studies on dynamic analysis.

In 1966, significant studies were conducted using the electro podography method established by INSERM research institute in Montpellier, France. It studied the static and dynamic behavior of plantar support with sensors/insoles and a dynamometric mat.

In 1983, the studies performed by Professor RABISCHONG leaded to the development of sensitive insoles using « artificial skin » technology (Registered by ANVAR/CNRS).

Simultaneously, Mr. CLOT’s and Mr. ESTEVE’s studies from the research labs of the LAAS/CNRS in Toulouse, France resulted in the design of an Electronic Podometer:  a Platform for the Analysis of Static and Dynamic Plantar Supports.

In 1985, the company MIDI-CAPTEURS manufactured and commercialized the Electronic Podometer PEL 38.

PEL 38 became the reference not only for the quality level of the analysis results but also for the design of the software and positioned MIDI-CAPTEURS as the European leader in the field of Electronic Podometers.

The WIN-POD system was born in 2003, using the latest calibrated sensors’ technology for continuously improving performance.

In 2004, MEDICAPTEURS launched the FUSYO platform, and became the only manufacturer of a system integrating an electronic podometer into a posturology platform built according to APE specifications.

With the introduction of WIN-TRACK in 2009, MEDICAPTEURS strengthen its leadership position in the design and manufacturing of podiatry, posturology, and biomechanical analysis platforms, serving more than 5000 customers and numerous renowned distributors, resulting in a constant progression in the global market.

IMPORTANT NOTICE

Your software integrates a patient database (patient files) which contains private health information related to the patients and their specific measurements.

In order to avoid losing the studies performed with your software, it is necessary to perform a BACK UP to save the patient database on a regular basis ; in fact any technical problem on your computer may affect and destroy such valuable data.

We highly recommend a minimum of one Back Up on a weekly basis on an external drive, CD RW, etc. (see page 69).

Software Start Up

- Launch the software, by double clicking on the following icon

- Within a few seconds, a window will open asking for the user’s password :

Note: this security option is now mandatory for software utilizing confidential patient information.

The default user in the software is: "ADMIN" which does not require a password. To create your own user’s name and password please refer to page 17.

- Click  to start the program.

Software exit

With the « Exit » Key:

- Click on the  located in the upper right corner of the screen.

- Confirm your action by clicking on .

With the “File Menu”

- Click on "File".

- Select "Quit".

- Confirm by clicking on .

Software Navigation

Title Bar

It includes the name of the software, the patient’s last name and first name, the exam date and time of the recording.

Menu Bar

It contains the menu: Files – Utilities - Statistics - Configuration - Help.

Selection Bar

It allows access to all the phases of a podiatry assessment.

The typical process is done by clicking on the tabs from the left to the right.

Tool Bar

It includes the icons for quick access to the software functions.

Several tool bars are available according to the displayed screens.

Menu Bar

Menu "Files"

This menu can be used for creating or changing pre-established lists which can be opened when completing the patient file and the exam file.

Available Lists

- Correspondents

- Clinical exam

- Complaints

- Professions

Adding Data To The List

For example : For the above mentioned lists, perform the following operations:

- Click on  .

- Insert the text (Start with an upper case!)

- Click on .

Deleting Data From The List

- Click on the item to erase

- Select  .

- Confirm by clicking .

Special case : clinical exam

For the parameters of the clinical exam, you can modify each list as written above but also the name of the parameter. So you can entirely personalized the clinical exam.

Menu "Utilities"

Exporting and importing exams

Exams can be imported or exported between software users.

Click on the option you selected and follow instructions.

Menu Bar

Menu "Statistics"

This menu allows the user to graph or list data by pathologies, practitioners, users, foot size, professions, and by gender.

Statistics on foot sizes

Menu Bar

Menu "Configuration"

Parameters

The Parameters window includes several tabs

- The "General" tab allows to modify the following parameters :

- Software Standby Mode : Allows you to set a timer for the software to go on standby mode. The password is required to access the software when leaving the standby mode.

- Print preview : Activated or not.

- Activation of Links with External Software : Allows you to share patient data and recordings between "WIN-POD Software" and other software (example : RM informatics).

- Rectified dynamic acquisition : Allows you to automatically rectify a dynamic mesure at the end of an acquisition.

- Statics average: Allows you to create a single static image using a static acquisition’s measures, during a defined length of time (default : 5 secs).

- Resolution : Allows you to modify the cartography’s type of visualization.

- Phases of Gait: Personalized norms of the three phases of the gait cycle (see page 55): you need to enter the relative timing of each phase of the cycle (in %) Heel Strike, Plantar, and Toe Off (by default: 20, 60 and 20%).

- Measuring System: Allows you to choose between Kpa, N/cm² and g/cm².

After completing your selection, the following window opens :

Exit the software and reopen it for your selections to be activated.

Menu Bar

Menu "Configuration"

Parameters

- "Data Base" tab

- Users : When more than one person uses the software, the database can be filtered according to the end user (practitioner, clinic, assistant, etc.) Select the “Filter by user” icon and then select the particular user, the software will only access the selected user database.

- Saving : Allows to establish database back up folder and saving frequency (based on the number of times the user’s has used the software)

- "Plate" tab is reserved for hardware maintenance.

- "Colors" tab is used to redefine the screen and printing colors used in the software.

To change one color, click on color to be changed. A color palette appears on screen. Click on the desired color then validate.

Note : Selecting  will reset all colors to the software original colors.

Menu Bar

Menu "Configuration"

Medical Office

Enter your office contact information and logo to be displayed at the top of printed documents. 

Please perform this procedure when using the software for the first time.

Right of Access

The Software Administrator is the only person allowed to access this function. This function allows the administrator to set up other practitioners/users and their respective passwords.

More than one user can work on the same system (clinic setting). This function needs to be performed when using the software for the first time or when changes in users are necessary.

Language

Select the language you want and the software will translate automatically.

Visit Flow Chart

An assessment includes the following phases:

- All the data from the Patient File including the patient’s personal information and measurements.

- All information from the Exam File related to the type of exam and patient’s pathology.

- Selecting the type of Measurements to be performed : static, dynamic or postural measurements. More than one measure can be done through one exam.

- Recording the selected measurements on the hard disc through Acquisition.

- Analysis of the measurements.

"Patient" Tab

Tool Bar

New : Creating a new patient file.

Search : Search the database for an existing patient file.

Modify : Modify an existing patient file.

Validate.

Cancel.

Print a patient file.

Print the entire patients listing.

Permanently delete a patient file and all measurements.

"Patient" Tab

Creating a new patient file

- Select  .

- Enter patient data.

Mandatory information fields will appear in blue : Name and First Name.

Warning : if the weight is not well informed, the absolute values of the pressures will not be calculated.

- Use pre-defined list (see « Files » menu) for the fields where a down arrow key is present  “Sex” and "Profession".

- Once the patient file is completed, click on .

Searching for an existing patient file

- Click on  to access the patient list :

- Type the first letters of the name in the field «Patient name to search ».

- Click on  or double-click directly on the patient’s name.

Modifying an existing patient file

- Click on .

- Modify the concerned fields.

- Click on  to validate changes.

"Exam" Tab

An exam file consists of all the measurements performed (acquisitions) for a given patient, on a given date.

A new exam file must be created at each patient visit.

An exam may contain an extensive number of measurements (acquisitions) from the same exam type or different types (static, dynamic, or postural measurements).

Tool bar

New : Creation of a new exam file.

Search : Search for an existing exam file.

Modify : Modify an existing exam file.

Validate.

Cancel.

View previous exam notes.

Print an exam file.

Permanently delete an exam file and all associated measures.

"Exam" Tab

Previous exams

View and print previous exam notes to facilitate patient care.

Do not forget to fill in "Title" area and the exam notes if you desire to see patient notes history throughout care.

Creating a new exam

- For an existing patient, click on .

- Complete the different sections.

- Validate by clicking on

Searching for an existing exam

- Click on  .

- Click on  or double-click directly on the exam.

Note : You can only modify measurements in an existing exam on the date of the exam. Later on, you have to create a new exam file.

Modifying an exam file

- Click on .

- Modify the different sections you selected.

- Click on   to validate changes.

"Acquisition" Tab

A measurement consists of the recording (acquisition) of data in three modes (Static, Dynamic (Gait), Postural).

For each acquisition, all the data are automatically saved on the hard disc.

A measurement is always related to a particular exam.

In the course of an exam, you can perform as many measurements as you want (for example, you can carry out 3 static acquisitions and 1 dynamic acquisition).

Note : The comments entered during the creation of an exam file are included on the analysis screens, comparison studies and prints (under the title).

Tool bar

New : Creating a new measurement file.

Search : Searching for previous recordings.

Bluetooth connection to use the Medicapteurs Remote.

Permanently delete a measurement.

"Acquisition" Tab

Tool bar

Plate Connection Test : View “real time” images of pressure mapping. This function is very useful to verify proper connection of system and to perform a quick visualization of foot mapping without saving the data.

Warning : This function does not allow acquisition.

View « real time » images of the Center of Pressure with an option to select a limited zone of sway to train the patient to control his/her body’s oscillations (Biofeed back).

To delineate the zone, click on the screen and move the mouse diagonally toward the bottom while maintaining left click on the mouse to delineate the Center of Pressure (COP).

View simultaneously « real time » images of antero-posterior and left-right deviations. You can parameter speed, high and low limits for visual or sound alarm. (Biofeed back).

Real Time Display of the COP	       Antero-Posterior and

Latero-lateral Deviations

- « Shortcut Options » : virtual landmarks can be inserted during acquisition

To make landmarks appear on the screen select the following keys :

/ : 30° Axis lines

- : Horizontal lines to control heel alignment

+ : Orthogonal axis to divide the screen in 4 quadrants

"Acquisition" Tab

Creating a measurement (Acquisition)

You can choose 3 types of acquisition:

- Static: To record the bipedal cartography of the plantar pressures.

- Dynamic: To record the foot progression on the platform through the gait cycle. A high acquisition frequency (up to 100 images per second) allows an accurate analysis of the evolution of plantar support.

- Postural: Posturology is in a way "the dynamic of static upright posture ».

Instead of recording the patient’s plantar supports at a particular time to obtain a single (static) image, recordings of the patient’s bipedal support are performed during an established time period in order to analyze the variations of plantar support and the displacement of the foot pressure centers.

It is used for evaluating postural instability or analyzing plantar supports during movements for specific activities (sports, rehab, etc.).

To create a new measure, you can :

- Click on the  icon, then choose the type of acquisition.

- Use the remote you have installed on your mobile device (for more information on the remote’s installation and setup, please refer to its users guide).

  - Click on  to open the Bluetooth link from your software. The square indicator next to this icon lits green when the connection is made.

  - Tap on  to open the Bluetooth link from your mobile device. The indicator on this button lits when the connection is made.

  - Then select, validate, or cancel acquisitions from your mobile device.

Comment : The setting windows for dynamic or posturological measures won’t appear when you use the remote ; the latest software settings will be used.

"Acquisition" Tab

Static Acquisition

- Click on .

- Position the patient on the platform.

On the screen, you will see a real time image of the cartography of the plantar pressures and the Center of Pressure (displayed as ( )

You can type comments related to observations in the « Measurements Notes » section.

- Positioning the patient : in natural position or in standardized position using the virtual landmarks (see page 24) or the horizontal landmarks drawn on the surface of the platform. It is important to align the heels on the same line (use the horizontal half lines displayed behind each foot).

- Start acquisition by clicking on .

When the "Acquisition" key turns gray, the acquisition is completed and the patient may step down. Data is recorded on the computer disc. You can delete by clicking on .

You may now either start a new acquisition or go on to another operation.

"Acquisition" Tab

Basic Dynamic Acquisition (one gait cycle)

- Click on  in the "Type of Measure" window.

- The Acquisition Parameters screen appears.

Instruct the patient to step down from platform.

Acquisition Parameters

Time (in seconds)

Time required by the patient to complete an entire step on the platform. Acquisition time is set by default at 1 second. If the patient’s gait is extremely slow due to difficulty in moving, this parameter may be changed to 2 to 3 seconds. The “normal timing” for a full step progression is between 700 and 900 ms.

Frequency

Click on  to select the acquisition frequency. This selection determines the number of images recorded per second (up to 100).

"Acquisition" Tab

Basic Dynamic Acquisition (one gait cycle)

- Once you have selected the acquisition parameters, click on « OK ».

The following screen appears:

- Instruct the patient to step a couple times on the platform in order to feel relax and get accustomed to stepping properly on the platform.

- Then click « OK » to activate the platform and ask the patient to walk across the platform (striking the center portion of the platform) with the left foot.

The following screen appears.

Note : recording starts as soon as contact is made with the platform!

The patient may then step across the platform with the left foot (recording starts as soon as the heel strikes the platform).

- Repeat the same sequence for the Right Foot.

You may now either start a new acquisition or go on to another operation.

"Acquisition" Tab

Multiple Dynamic Acquisitions (Multiple Steps)

- Click on  in the "Type of Measurements" window.

- Select your acquisition parameters (see page 27) and click on « OK ».

- When the screen appears (see below), the 8 icons "Left Foot" and "Right Foot" are empty. You can now start acquisitions.

Description

The Multi Steps Option allows acquiring up to 8 dynamic steps (4 for each foot). The software identifies automatically the left and right foot recordings.

From these multiple acquisitions, calculations and graphs can be displayed for each foot to describe the evolution of force, maximum pressures, average pressures, surface areas during the gait cycle as well as averages throughout the entire step process.

The software automatically selects the right and left Foot Prints which are the closest to the average, allowing the user to visualize the 2 most significant steps.

"Acquisition" Tab

Multiple Dynamic Acquisitions (Multiple Steps)

Recording

- Walk on the platform successively withy the left and right foot (up to 4 steps for each foot) in which ever direction you prefer always striking the gray portion of the platform.

- Verify that the automatic sequence “Left Foot” and “Right Foot" is correct. In certain walking situations, the software may switch the “Left Foot” and “Right Foot" which will affect calculations and averages.

In such instances, right click on the image which is improperly displayed and select proper action (delete, switch right/left).

- After verification and proper selection of images you want to keep (you can zoom on each image by double-clicking on it), click on one of the parameters (we recommend "Force").

The software automatically selects the Left Foot and Right Foot images which are the closest to the average.

- Verify that the automatic selection of each foot is correct (yellow box).

- If you choose to modify this selection, you can select another image by clicking on it and moving the yellow box.

- You can also print the screen to keep a record of the images and graphs.

- Click on  to save the 2 dynamic recordings selected in the patient file.

You may now either start a new acquisition or go on to another operation.

"Acquisition" Tab

Postural Acquisition

- Click on .

- Position the patient on the platform and click on  to open the Acquisition Parameters screen :

Acquisition parameters

Time (in seconds)

The duration of the postural analysis recording is 30 seconds by default.

Average Parameters

Postural acquisition is always performed with a frequency of 100 Hz (100 images per second). The average parameter permits reducing the volume of data (limited to 2400) to be saved on the hard disk to avoid saturation:

| Number of images saved = | Duration x 100 |
| --- | --- |
|  | Average Parameter |

Example : Duration of acquisition : 30 seconds

| Average Parameter | Acquired Images | Saved Images |
| --- | --- | --- |
| 100 | 300 x 100 = 3000 | 30 |
| 10 | 300 x 100 = 3000 | 300 |
| 1 | 300 x 100 = 3000 | 3000 = over limit |

"Acquisition" Tab

Postural Acquisition

Acquisition Parameters

Number of images (non modifiable information)

The number of images saved during a recording.

| Number of images = | Duration x 100 |
| --- | --- |
|  | Average Parameter |

Frequency (non modifiable information)

Number of images recorded per second. This parameter cannot be modified. It is set at 100Hz.

- When parameters are selected, click on  « OK ». Acquisition starts :

Warning : Acquisitions use all computer resources and therefore other computer functions cannot be performed during acquisitions ! Particularly live applications such as: antivirus, scan modem, downloading, skype… and with applications requiring large memory use such as: large word files, keyboard, etc.

When acquisition is completed, you may now either start a new acquisition or go on to another operation.

Detailed Static Analysis

Tool Bar

Search : Opens the patient database to review a measurement.

Print. The arrow gives access to "Scale 1 Printing" menu (see page 67).

Foot Print Measurements.

3D view.

Standard view.

Isopressure view.

Centers of Pressure view.

Percents view

30° Axis lines.

Horizontal lines to control heel alignment.

Detailed Static Analysis

Foot Print Analysis

Centering the Foot Print

These keys are used for framing or rotating the foot print for easier review when your patient is not correctly positioned during acquisition or to modify the forefoot/heel limits used for calculations by sectors.

Important Note : When you re-frame a print, the initial print file is automatically replaced by a re-framed print file, on the hard disk (if you then open the print file, you will be able to see the re-framed print ).

Cartography

The following information is displayed on the cartography :

: Point of maximum pressure (the value is displayed in Max P.

(        : These 3 marks depict the COP (Left foot, Right foot, and Center). The center ( is the Center of Pressure.

Calculation on both feet

- Cursor : The pressure measured at the point where the cursor is located(g/cm²). Use the mouse to navigate this tool.

- Area : Surface Area covered by both feet (total support surface) in cm².

- Max P. : The maximum pressure point measured.

- Avg P. : Average pressure calculated over both feet.

Detailed Static Analysis

Foot Print Analysis

Calculation per quadrant

Several calculations are performed in each of the 4 podometer sectors as defined by an axis on the cartography.

A white Cross represents the axis on the platform.

The following parameters are available :

For each quadrant (in white)

- Area : Support surface in the quadrant (cm2).

- Thrust : Percentage of Thrust in a quadrant, as a proportion of the total pressure through both feet.

- Distribution : Percentage of support in the front and back halves of the foot.

For each foot (in blue)

- Area : Support surface of the foot(cm2).

- Thrust ; total thrust of the foot.

- Weight applied on the foot.

"Standard" View

The plantar pressures mapping is represented with a palette of different colors from blue (low pressure) to red (high pressure).

Note : The image resolution, screen display and the colors can be changed in the Configuration Menu : Configuration/Parameters/ Colors (see page 16).

You can select « Virtual Positioning » axis on the screen by clicking on .

Detailed Static Analysis

"Isopressure" View

In the standard view, the different levels of plantar pressures are represented with a continuous palette of colors from blue to red.

In the isopressure view, there are only 3 colors available (red, green and blue) corresponding to 3 pressure intervals :

- Blue 	: Low pressures.

- Green	: Intermediate pressures.

- Red 	: High pressures

The pressure level which determines each color can be adjusted by the user by increasing or decreasing the pressure level corresponding to a color by clicking on   (see example below).

The value which is on the right of the color square represents the pressure level (expressed as a percentage of the maximum pressure point “M”).

Example :

Red represents areas of pressure above 75% of the max pressure.

Green represents areas of pressure between 50% and 75% of the

max. pressure.

Blue represents area of pressure between 0% and 50% of the

max. pressure.

"Percents" View

In this mode, the pressure points are expressed in % of max.pressure. The max.pressure points are represented with the sign %.

Detailed Static Analysis

“Centers of Pressure” View

This mode is used for visualizing the foot shape, the centers of pressure (() and the max. pressure point (M). It is often used in dynamic analysis to display the “Gail Line”.

"3D" View

The cartography of pressures is visualized in 3 dimensions.

The object of this image is not to permit an accurate analysis of support, but rather to produce an easily understandable and highly visible image for the patient.

The picture can be moved and rotated by clicking on these 	arrows  or by moving along the “Depth” cursor.

Detailed Static Analysis

"Measurements” Option

Measurements can be carried out and comments can be added on the cartographies

It will appear on the screen and printing but it is not recorded.

Click on the option to select :

- Length : Measuring one or more distance on the cartography in cm.

Point and click (once) to define the first point of the segment to be measured. Move

mouse, point at a second point, then click.

- Angle : Measuring an angle on the cartography. Point and click the 3 points forming the 2 generating lines of the angle to be measured.

- Area : Click once, and then move mouse to form an ellipse. Click a second time to display the surface area within the ellipse.

Detailed Static Analysis

"Measurements” Option

- Zone : Maximum Pressure, Average Pressure, Surface Area, Timing calculations in a selected area (following the captors’ distribution).

To open a zone, click on the upper left corner of the selected zone, keep the pressure on the mouse and move it towards the right lower corner. When you release the mouse, the measurements values will appear.

Pressure : Click on point on the cartography to display the pressure at that particular point. You can click on the box with pressure value to move it and then double click to leave it at the position you selected.

- >>> : Insert an icon directly on the foot print.

- Comment : Used for inserting comments on the cartography (will appear when printing)

(	Click on

(	Click on the beginning of the line

(	Type comment on the selected foot print area.

(	Click on point to insert the comment.

(	Move mouse to position comment box.

(	Click a second time to have comment fixed.

- Results : Displays the results of the last measurement performed (length, angle or surface).

- Coord. : Displays the Cartesian coordinates (x,y) of the position of the mouse cursor.

- Clear : Deletes the last performed measurements.

- Clear all : Deletes all the performed measurements.

Detailed Dynamic Analysis

Detailed Dynamic Analysis

Tool bar

Search : Access to patient file to load measurement.

Print. The arrow gives access to "Scale 1 Printing" menu (see page 67).

Foot print measurements.

3D view.

Standard view.

Isopressure view.

Foot Outline view, Gait line and Max line.

Percents view

Start or stop the step progress.

and  In mode pause, it permits to see a forward or backward image by image replay.

Displays the first image of the step progress.

Displays the mean results of all the progress images(global view).

Left Foot Display.

Right Foot Display.

2 Feet Display.

Mosaic : display all the progress images on one screen.

Displays the curve of displacement of the Max. support(Maxline).

Displays the curve of displacement of the center of thrust (Gaitline).

Displays the three phases of the step.

Detailed Dynamic Analysis

Foot Print Analysis

Tools of visualization

- Moving the foot print:

These buttons allow to center or rotate the footprint when the cartography is not properly positioned.

Important Note : when you perform foot print framing, the initial foot print file is automatically replaced on the hard disc with the properly framed file (if you check this file later, you will view the properly centered view).

- Speed of progression : by moving the cursor, the speed of image display can be changed.

- The 2 feet display with  disable some functionalities like the foot print measurements. It is necessary to go to the monopodal display to reach these functions.

On the cartography

On the cartography, the following information is available :

: Time elapsed since the beginning of acquisition. Expressed in milliseconds (ms).

If the   and   are not selected :

: Point of maximum pressure.

( 	: Centre of de thrust calculated on the displayed image.

If   and/or   is/are selected :

Visualization of the Gaitline (curve representing the evolution of the thrust center) and/or the curve representing the evolution of maximum point of support (Maxline).

Detailed Dynamic Analysis

Foot Print Analysis

Calculations on displayed image

- Cursor : The pressure value of the support point which is pointed at with the mouse arrow is displayed in this box (g/cm²).

- Area : Total surface area of support (cm²).

- MaxP. : Value of the M point: maximum Pressure (g/cm²).

- Avg P. : Average Pressure.

Detailed Dynamic Analysis

Multiple Views

Standard view (See page 35).

Isopressure view (See page 36).

Percents view (See page 36).

Centers of Pressure view (See page 37).

3D view (see page 37).

Measurements options (see page 38).

Detailed Dynamic Analysis

"Mosaic" View

Display all the successive images of the step progression :

Select the foot to be displayed.

Front Zoom.

Back Zoom.

and  Forward or backward rewinding.

Printing

Note : when you double-click an image from mosaic, you can directly open a detailed analysis of this image.

If you click on an image you can position 4 cursors (T1 to T4). The software will calculate the time between the cursors either in ms or in % to the whole duration of the step progress.

This option is very useful to estimate the “timing “of the step progress by selecting the heel strike, plantar, and toe off phases.

Click on Reset phases to clear the calculations for these phases.

Detailed Dynamic Analysis

Step Phases Analysis

By clicking on  the 3 phases of the step can be defined (Heel strike, Plantar, and Toe off phase) and compared with personalized normative values.

For this function, there are 2 steps :

- Initializing normative data

The duration of each of the step phases can be captured by clicking successively on : Configuration/Parameters/General (see page 15).

By default, the phases' distribution are : 20%/60%20%.

- Outline the 3 phases

- Click on . Select a foot.

- Click on  and then click on the transition images to position the two cursors to delineate the three phases Heel strike (T2) and the end of plantar (T3). The cursorsT1 and T4 relate to the beginning and end of the step and are automatically positioned on the display.

- Perform the same procedures on the other foot.

- Return to the “detailed analysis” view and click on  for visualizing the 3 phases and compare them to the normative data. Click on  to display and compare the 2 feet.

Graphs – Dynamic

A certain number of parameters are calculated for each image of the dynamic progress (surface, Max. Pressure, Aver. Pressure, Thrust center, etc).

The evolution of these parameters throughout the step cycle can be visualized by selecting the "Graphs" tab.

Tool Bar

1 : 1 scale. You can zoom in on a graph by opening a rectangle with the mouse on the selected portion of the graph to be enlarged. This button allows bringing back the original image.

Printing graphs.

Synthesis of the left foot and the right foot.

Graphs – Dynamic

Selecting a graph

Click on the curve you want to be displayed :

- Forces : Evolution of the force during step progression (%).

- Area : Evolution of the support surface during step progression (cm2).

- Avg. P. : Evolution of the average pressure calculated for each image (kg/cm2).

- Max P. : Evolution of the value of the « Max.pressure» through the images of the step progression (kg/cm2).

- Speed : Variation in speed during step progression. A very « irregular » speed curve betrays an irregularity in the gait/walk that may be due to poor acquisition (patient's hesitation).

- Rotation : Position of the thrust center line as a proportion of the theoretical axis of progression. This graph is valid only if the patient steps along the platform axis or parallel to it.

- Area + Max.P. + Avg.P. : Superposition on the same screen of the area, average pressure and maximum pressure graphs.

Graphic options

- X axis : For each dynamic analysis graph, you can select  to display "Images" or "Temps" (en ms) on the abscissa axis.

- 3D : 3D Visualization of the graphs.

- Labels : Displays the values of each image ( to be used in conjunction with the zoom function to facilitate reading the values).

- : Selecting the thickness of the graph lines.

- X, Y : Cartesian coordinates for each point you select on the graph.

Graphs – Dynamic

References

In order to assist you with the graphs interpretation, we have carried out a statistical study of several hundreds of patients.

Selecting « a wide spectrum » sampling enables us to determine the low and high values reference graphs for several parameters.

By clicking on "Visibles" in the "References" area 2 dotted graphs (Min and Max) are displayed for each foot.

You must "re-frame" these graphs according to the patient’s step progression.

Use the 4 arrow keys keyboards , one on the left for the left foot and one on the right for the right foot.

The objective is to better center the patient’s graphs with the Min and Max graphs.

The purpose of the reference graphs is not to establish an automatic diagnosis but rather to draw your attention to a specific phase of the step process where a problem may be detected and to refine your analysis. These references also provide a general view of what a “normal” graph should look like.

Support phases calculations

By clicking on different points on the graph’s abscissa, you can position 4 cursors (T1 to T4) which allow to measure the duration of each phase of the step progression either in ms or in % of the entire duration of the step process:

The keys  allow resetting the different phases, for the left foot and for the right foot.

Graphs – Dynamic

Left foot and right foot synthesis

This function allows to on the same screen the Area, Avg. P. and Max. P graphs with the step progression view. This is a great page to print to provide a report of the dynamic analysis on only one page.

Note : You have the option to visualize the foot pressure mapping (on the left side of the screen) at any time of the step process. Just click on the graph, hold and move the mouse from left to right.

To see the global image, move the cursor to the right side of the graphs.

Graphs – Dynamic

Comparing 2 measurements

When 2 dynamic recordings are loaded in the "Compare" tab section, you can superimpose the graphs associated with each recording in the "Graphs" tab :

The icons   allow managing the measurements to be compared.

- By bringing the mouse on these icons, a message is displayed indicating the name, first name, date and time of the recording.

- When a button is selected, the active measurements which are the measurements displayed in the "Detailed Analysis" tab or the measurements displayed when clicking on the icon  .

- To stop visualizing a measurement (measurement is still loaded in the software), right click on the corresponding icon. A « cross-like » icon   appears on the screen to replace the previous icon . Follow the same procedure to visualize the measurements again.

Detailed Postural Analysis

Detailed Postural Analysis

Tool Bar

Search : Access to database to load a measurement.

Print. The arrow gives access to "Scale 1 Printing" menu (see page 67).

Foot Print Measurements.

3D view.

Standard view.

Isopressure view.

Visualization of the foot print shape and Center of Pressure.

Percents view

Return to normal scale 1 : 1.

Starts or stops the step progression.

and   In « pause » mode, it permits visualizing one image after another (forward or backward).

Display the first image of the step.

Display the mean results image of all the images of the step process (global image).

Mosaic : display all the images of the step process.

30° Axis lines.

Horizontal lines to control heel alignment.

Detailed Postural Analysis

Foot Print Analysis

Visualization tools

- Moving the foot print :

These keys are used for centering or rotating the foot print in case the patient was not properly positioned during the acquisition or to modify the forefoot/heel limit used for measurement by sectors.

Important Note : when you re-frame a foot print, the original recording in the database is automatically replaced by the re-framed data (if you then open this footprint, you will only see the re-framed version).

- Speed : The display speed of the acquired images can be modified by moving the cursor.

- Lines : Connect or not the thrust centers.

- Shape : in the "Center of Pressure" mode, display or do not display the feet shape.

Cartography

On the cartography display, the following information is available:

: Maximal pressure point (the absolute value is displayed in the Max P box.

: These three graphs (oscillograms) display the center of thrust under each foot and the global center of thrust primarily used in postural analysis.

: Time elapse since the beginning of the acquisition in milliseconds (ms).

Detailed Postural Analysis

Foot Print analysis

Calculation on both feet

- Cursor : In this box is displayed the foot pressure value on the point selected with the mouse (g/cm²).

- Area : Total surface area of both feet (cm²).

- Max. P. : Point M value : Maximal pressure on both feet (g/cm²).

- Avg P. : Average pressure on both feet.

Calculations per sectors

Several calculations are performed in each of the 4 sectors (quadrants) of the podometer defined by a visible cross on the cartography.

The cross corresponds with the white arrow drawn on the platform surface.

The following parameters are:

For each sector (in white)

- Area : total foot print surface area in the sector (cm2).

- Thrust : Percentage of thrust in the sector, proportionally to the 2 feet total thrust.

- Distribution : Percentage of support in the anterior sector and the posterior sector for each foot.

For each foot (in blue)

- Area : foot print surface area (cm2).

- Thrust total foot thrust.

- Weight distribution by foot.

Detailed Postural Analysis

Foot print analysis

Calculations related to the trace (curve between the feet)

- Length of the trajectory covered by the center of thrust (in all directions).

- Area of the closest ellipse to the stabilogram.

- The Length/surface ratio provides a “general value” of energy spent by the subject during the recording.

- The quadratic average speed parameter represents the vector sum of the antero-posterior and latero-lateral average speeds. This is not an algebraic sum but rather the square root of the sum of squares of the two previously mentioned speeds.

- The average speed (expressed in mm/sec) corresponds with the projection on the axis(Lat. in latero-lateral or frontal plan or Ant. in antero-posterior or sagittal plan) of the total displacements of the centre of thrust divided by the duration of the recording. Please note the displacements are measured in absolute value without addressing the direction of the patient’s movement. An elevated average speed of oscillations may indicate postural instability.

- The variance or standard deviation measures the scattering in relationship with the average position of the center of thrust. From a pure statistical point of view, 68% of the oscillations have amplitude between +1 and –1 standard deviation, 95% of the oscillations have amplitude between +2 and –2 standard deviations.

- Cartesian Coordinates of the global center of thrust averages : Average and on the displayed image : Current.

Detailed Postural Analysis

The different views

Standard View (See page 35).

Isopressure View (See page 36).

Percents View (See page 36).

Center of Pressure View (See page 37).

In this view, you can perform one or several zooms on the oscillograms.

For zooming function:

- Click while pressing the key in the top left corner of the area to be zoomed.

- Move diagonally the mouse toward the bottom right area.

- Adjust the size of the area to frame the graph or the portion of the graph to be zoomed and then release the mouse key.

To return to the initial view, click on .

3D View (See page 37).

Measurements Option (See page 38).

Isopressure                   Centers of Pressure                  Percents

Detailed Postural Analysis

"Mosaic" view

This mode is used for the analysis of major movements or high instability. It allows viewing all the acquisition images simultaneously and looking for the movement phases.

Front Zoom.

Back Zoom.

and  Forward or Backward display.

Print.

Note : When you double-click on one image in the mosaic view, you directly access the detailed analysis of that image.

Graphs - Postural Analysis

Stabilometry analysis is performed through the study of 3 graphs associated with calculations of several physical parameters.

Graph Selection

Click on the graph you want to select:

- Deviations : These graphs display the progression of the center of thrust in the antero-posterior and latero-lateral axes during the recording. The vertical values cover a range between 10mm to 50mm in the base of the polygon and along to the antero-posterior axis. The positive values on the graph display the anterior or right side, the negative values display represents posterior or left side.

- Postural instability : This postural instability displays the evolution of the speed of the body’s center of thrust movement during the exam.

Graphs - Postural Analysis

Graphs display options

- X axis : For each dynamic analysis graph, you can select  to display "Images" or "Temps" (en ms) on the abscissa axis.

- 3D : 3D Visualization of the graphs.

- Labels : Displays the values of each image ( to be used in conjunction with the zoom function to facilitate reading the values).

- : Selecting the thickness of the graph lines.

- X, Y : Cartesian coordinates for each point you select on the graph.

Parameters

The numerical parameters are displayed on the right side of the graphs :

- The Range of the oscillations evaluates the distance in millimeters between the most anterior point (the farthest on the right) through which the center of thrust ran through and the most posterior point (the farthest on the left).

The range of the oscillations is independent from the positioning of the patient on the platform since the software searches for the extreme points reached by the center of thrust and then calculates the distance between these points along the antero-posterior axis (or latero-lateral).

- The Standard Deviation measures the scattering in relationship with the average position of the center of thrust. From a pure statistical point of view, 68% of the oscillations have amplitude between +1 and –1 standard deviation, 95% of the oscillations have amplitude between +2 and –2 standard deviations.

- The average speed (expressed in mm/sec) along the antero-posterior axis is equivalent to the projection of the entire displacements of the center of thrust on that axis divided by the duration of the recording. Please note the displacements are expressed in absolute value without consideration of the patient direction of movement. A high average speed of oscillations in the sagittal plan may indicate a significant postural instability in the antero-posterior direction.

The global parameters of instability related to patient’s balance as described in the foot print analysis (see page 56) are displayed along with the postural instability graph.

Measurements comparison and Romberg quotient

Romberg Quotient is calculated based on the length and surface parameters of 2 specific postural recordings : the first measurement is based on a recording with eyes open and the second with the eyes closed.

Acquisition

The recording procedure is described in the « postural acquisition » paragraph. If you want to perform the test of Romberg, you need to record 2 different postural measurements (in the same exam file).

- Open the patient’s database.

- Create a new exam.

- Perform the first recording (eyes open).

- Perform a second recording (eyes closed).

Analysis

For calculating Romberg’s quotient, you need to :

- Click on the "Comparison" tab in the software.

- Load the "eyes open" and "eyes closed” recordings.

- Visualize the quotients “Area” and “Length” by clicking on  (you can also compare postural measurements).

"Comparison" Tab

General information

It allows viewing up to 4 measurements simultaneously on the same screen.

This viewing mode provides the following options :

- Patient follow up : viewing measurements on different dates.

- Comparative study (Test / Re-Test) : for example, viewing a static measurements without corrective procedure and with correction.

- Comparison and correlation of different types of measurements (viewing simultaneously a static, dynamic and postural measurement on the same patient).

- Comparison between patients.

- View a measurement in different modes of visualization (for example in Standard mode and Isopressure mode).

"Comparison" Tab

Up to 4 measurements comparison

- Load the measurement to compare by clicking on . Select the measurement in your patient database.

- Repeat the same procedure for all the measurement to compare (4 max).  and  allows viewing respectively vertical and horizontal mosaic.

- To unload one measurement, click on  located in the upper right corner of the screen.

Note 1 : the screen not boxed in gray relates to the measurements visualized in the « Detailed analysis » tab".

Note 2 : If you load dynamic measurements, 2 screens are required. So you can visualize only 2 dynamic measurements.

Note 3 : You can also compare postural measurements by clicking on .

"Video" Tab

Tool bar

Search : Access to database to load a measurement.

Print the podometry image and the video image associated.

Video Measurements.

Allow recording video at a different time than the podometry acquisition.

Link an existing video to live exam recording.

This key allows exploring the hard drive to load a video in asf, avi or wmv format.

Link an existing image to live exam recording.

This key allows exploring the hard drive to load an image in jpg, jpeg or bmp format.

"Video" Tab

Simultaneous recording Video / Podometry

Only available with a Basic Dynamic (see page 27) and Postural (see page 31) acquisition.

- In the "Acquisition" tab, select "Dynamic" or ‘Postural”.

- Check mark "Video Recording" (not available in "Multiple dynamic" acquisition).

Note : When the "Video Recording" message has a gray background, the computer did not detect the video acquisition system. Verify that the webcam is properly connected and device properly installed.

- Perform a normal measurement. The software will launch the video acquisition automatically.

Post-synchronization of the video with the dynamic foot print

- After the video is recorded, it is automatically synchronized with the podometry acquisition. In the “Video” tab, the buttons  and  under the video allow to perfect this synchronization. You must go to the first podometry image to access them and so fix the first video image.

- If you recorded the video with an other software, you can also synchronize it in the “Video” tab by clicking on right menu . When the two screens are « locked in position », click on .

- The left menu  then becomes the unique control bar for the 2 animations.

Printing

Tool bar

Click on this key to access print menu.

Full page print preview.

View full screen preview.

Print.

You can remove the print preview and printing will be launched when you click on  in one of the tabs in the software. Go to Configuration/Parameters/General (see page 15).

Note : You can download and install pdf Creator or FOXIT, free softwares which appear as a printer and allow to create PDF format files.

Scale 1 Printing

In the "Detailed Analysis" section, you can print the foot pressure mapping in real size (within one captor resolution level).

Click on the arrow  and select the menu "Print real size".

The "Centering of the real size footprint” appears :

This particular screen allows defining the area to print. In fact the regular paper size is smaller than the active surface of the podometer; therefore it is necessary to select the portion of the cartography you want to print.

Usually, you print one foot after the other.

The "Format Paper" window allows selecting a box which is superposed to the cartography.

This box coincides with the printable area which is properly displayed according to your paper size.

To position the box on the area to be printed, position the mouse inside the box. Left click and press on the mouse and move the box to the selected area.

Note 1 : You can reduce the pre selected “width” and “height” by clicking on the arrows .

Note 2 : If you have a printer with A3 paper, you can print the 2 feet at the same time.

When the box is properly positioned on the footprint, click on  to access to the printing menu (see previous page).

Exporting Data

By right clicking with the mouse on the “detailed analysis” tab or on a graph in the “graphs” tab, you can :

- Copy in the clipboard the selected image.

- Save to file the selected image in Bitmap format. A window appears to target the file name and the folder.

- Export a video allow to create an AVI video of a dynamic or postural acquisition. A window appears to specify the name and the folder of the created video.

- Export the series to Excel. The window appears :

- Select the information to be exported.

- If you have to export in an existing file, click on the corresponding check box.

- Click on  . An excel file is open including multiple pages where each type of available information is presented.

- Record the excel file on the hard drive.

- Full page, other graph or 2 graphs (in the "Graphs" tab) allow to display graphs on a full page or to return to 2 graphs visualization.

Patient database back up

WARNING!

It is necessary to frequently backup the patient database which includes all patients. In fact, a technical computer dysfunction may damage, even destroy all your data which then cannot be retrieved.

One back up per week is recommended.

Patient database back up

Copy the folder Data, Documents and Movies located in the installation folder to a back up unit, such as :

- CD or DVD writer

- ZIP Drive

- Another Hard drive

- USB Key

Reloading a backed up patient database

If you are not certain of the procedure, please contact us.

### Procedure to follow when installing the back up database on a new computer configuration :

- Install the software following the instruction manual.

- Launch the DBManager utility function which can be accessed through Start/All programs/ Medicapteurs.

- In the DBManager section :

- Click on the command "Import a database".

- The following window opens "Assistant for importing a database".

- Select your back up unit.

- Double-click on your back up DATA folder.

- Then click on "Next" and then on "Start".

- When the import is completed all the patients are directly integrated in the patient database of the software. You can verify that importation was successfully completed by opening the software and then by clicking on “search” in the "Patient" tab.

Verify then the displayed list and that the associated measurements are present.

COPYRIGHT

Copies or reproductions of this document is strictly limited to private use and not authorize for public or collective use, and excerpts or short quotes from this document need to clearly include the author and the source.

All rights reserved. Duplication of any part of the document or the entire document without express written consent of Medicapteurs is illegal and strictly prohibited.

©  MEDICAPTEURS  -  Toulouse  -  FRANCE  -  December 2015

# Text boxes

Isopressure

Centers of Pressure

3D

Percents